## Background Info
The Workbook contains average daily measurements on the main inlet (influent) and outlet (effluent) wastewater characteristics in two locations in the same county. Randomly samples were taken from January to September of the year
Variables | Descriptions
WWTP Location | Site of the WWTP
Month | Month sample was taken
Day | Day sample was taken
Flow | Flow rate in m3/day
cBOD | Biological Oxygen Demand (mg/l)
COD | Chemical Oxygen Demand (mg/l)

## Cleaned Up Data
|  |  | Inlet data |  |  | Outlet data
WWTP Location | Month | Day | Flow (m3/day) | cBOD (mg/l) | COD (mg/l) | Flow (m3/day) | cBOD (mg/l) | COD (mg/l)
Location 1 | January | 2 | 25231 | 64.8 | 247 | 22746 | 5.1 | 24
Location 1 | January | 4 | 20722 | 67.8 | 523 | 18496 | 5.97 | 29
Location 1 | January | 9 | 23951 | 131 | 207 | 21417 | 5.49 | 46
Location 1 | January | 11 | 23361 | 122.4 | 231 | 20334 | 4.62 | 20
Location 1 | January | 15 | 21478 | 131.1 | 248 | 19065 | 3.66 | 26
Location 1 | January | 17 | 20941 | 166 | 479 | 18339 | 5.4 | 40
Location 1 | January | 23 | 22937 | 130 | 284 | 20098 | 5.43 | 34
Location 1 | January | 25 | 26985 | 122 | 342 | 22997 | 5.3 | 46
Location 1 | January | 30 | 23514 | 201 | 301 | 20958 | 6.55 | 20
Location 1 | February | 1 | 23572 | 201 | 518 | 20143 | 8.94 | 32
Location 1 | February | 5 | 22759 | 88.6 | 241 | 19406 | 5.32 | 34
Location 1 | February | 8 | 36496 | 33.7 | 160 | 32051 | 7.2 | 35
Location 1 | February | 12 | 27743 | 54.1 | 149 | 24534 | 4.5 | 33
Location 1 | February | 14 | 25456 | 127 | 481 | 22475 | 4.49 | 29
Location 1 | February | 18 | 23133 | 135 | 251 | 19962 | 3.22 | 31
Location 1 | February | 21 | 31071 | 100 | 314 | 27428 | 3 | 24
Location 1 | February | 26 | 23008 | 81.1 | 423 | 20142 | 3.37 | 40
Location 1 | February | 28 | 22103 | 65.4 | 369 | 19275 | 3.3 | 33
Location 1 | March | 5 | 36203 | 74.8 | 202 | 32718 | 4.24 | 34
Location 1 | March | 7 | 34240 | 62.9 | 185 | 30870 | 5.67 | 46
Location 1 | March | 12 | 41588 | 55.5 | 269 | 37397 | 4.12 | 24
Location 1 | March | 14 | 41272 | 72.4 | 181 | 36994 | 6.9 | 27
Location 1 | March | 19 | 36923 | 34.8 | 118 | 33303 | 3.37 | 20
Location 1 | March | 21 | 35112 | 67.5 | 227 | 31649 | 4.69 | 34
Location 1 | March | 26 | 28722 | 83.7 | 391 | 26158 | 2.49 | 26
Location 1 | March | 29 | 25543 | 64.5 | 329 | 21803 | 7.62 | 53
Location 1 | April | 3 | 22451 | 187 | 583 | 20186 | 4.08 | 23
Location 1 | April | 4 | 27027 | 176 | 414 | 23070 | 7.16 | 48
Location 1 | April | 9 | 24704 | 108 | 338 | 22183 | 3.66 | 23
Location 1 | April | 11 | 23134 | 140 | 361 | 20170 | 4.29 | 52
Location 1 | April | 16 | 36061 | 137 | 710 | 31569 | 8.56 | 51
Location 1 | April | 18 | 24089 | 103 | 264 | 21205 | 2 | 22
Location 1 | April | 23 | 20378 | 76 | 330 | 17926 | 4.6 | 41
Location 1 | April | 25 | 32096 | 325 | 981 | 28451 | 30 | 135
Location 1 | April | 30 | 29232 | 72 | 402 | 25774 | 3 | 28
Location 1 | May | 2 | 28331 | 189 | 373 | 25028 | 1.7 | 35
Location 1 | May | 7 | 22493 | 194 | 471 | 19867 | 4 | 22
Location 1 | May | 9 | 23215 | 132 | 394 | 20433 | 3.3 | 26
Location 1 | May | 14 | 19567 | 82 | 508 | 17577 | 1.44 | 10
Location 1 | May | 16 | 20528 | 83 | 784 | 18358 | 1.24 | 22
Location 1 | May | 21 | 20500 | 149.8 | 549 | 18126 | 2.73 | 42
Location 1 | May | 23 | 19824 | 197 | 544 | 17340 | 3.61 | 28
Location 1 | May | 28 | 19535 | 229 | 1746 | 16790 | 4.29 | 26
Location 1 | May | 30 | 20003 | 117 | 254 | 17485 | 2.38 | 48
Location 1 | June | 4 | 19721 | 149 | 447 | 17787 | 3.04 | 35
Location 1 | June | 6 | 48218 | 39 | 129 | 43379 | 2.52 | 21
Location 1 | June | 10 | 33056 | 75 | 348 | 29075 | 3.35 | 31
Location 1 | June | 13 | 32162 | 53 | 157 | 28920 | 4.2 | 28
Location 1 | June | 19 | 28179 | 107 | 295 | 24919 | 3 | 14
Location 1 | June | 20 | 27674 | 150 | 391 | 24663 | 3.15 | 21
Location 1 | June | 25 | 28541 | 57 | 330 | 24834 | 2.4 | 28
Location 1 | June | 28 | 22130 | 109 | 286 | 19043 | 3.76 | 26
Location 1 | July | 1 | 22668 | 96 | 307 | 19833 | 2.5 | 15
Location 1 | July | 4 | 22377 | 133 | 348 | 18833 | 4.42 | 37
Location 1 | July | 9 | 21968 | 141 | 452 | 19337 | 2.8 | 20
Location 1 | July | 12 | 21133 | 165 | 422 | 18408 | 5.4 | 48
Location 1 | July | 16 | 20176 | 74 | 442 | 17442 | 2.61 | 9
Location 1 | July | 18 | 27125 | 163 | 432 | 23427 | 5.13 | 29
Location 1 | July | 24 | 26923 | 103 | 309 | 22798 | 6.93 | 15
Location 1 | July | 25 | 24432 | 88 | 318 | 20968 | 7.2 | 29
Location 1 | July | 29 | 19373 | 20 | 90 | 15925 | 2.8 | 21
Location 1 | August | 1 | 21642 | 114 | 272 | 19059 | 10 | 47
Location 1 | August | 6 | 37234 | 53.4 | 206 | 30260 | 3.9 | 39
Location 1 | August | 9 | 35003 | 64.8 | 388 | 32336 | 5.91 | 38
Location 1 | August | 13 | 33012 | 107.6 | 224 | 28991 | 3.01 | 32
Location 1 | August | 15 | 33200 | 57.3 | 185 | 29118 | 3.07 | 32
Location 1 | August | 19 | 25437 | 103 | 269 | 22768 | 2.49 | 34
Location 1 | August | 22 | 25424 | 105.8 | 368 | 22590 | 3.93 | 37
Location 1 | August | 27 | 21943 | 113 | 203 | 19660 | 3.61 | 24
Location 1 | August | 29 | 22596 | 111.8 | 236 | 19941 | 3.66 | 21
Location 1 | September | 3 | 24402 | 181 | 335 | 21967 | 2.7 | 36
Location 1 | September | 5 | 21734 | 139 | 350 | 18574 | 4.67 | 29
Location 1 | September | 8 | 22014 | 161 | 353 | 18047 | 2 | 20
Location 1 | September | 9 | 26514 | 110 | 277 | 23896 | 2 | 19
Location 1 | September | 18 | 19499 | 151 | 338 | 17751 | 3 | 26
Location 1 | September | 19 | 19530 | 119 | 383 | 16992 | 3 | 25
Location 1 | September | 24 | 29997 | 76.2 | 249 | 27405 | 3.21 | 29
Location 1 | September | 26 | 30070 | 61.9 | 339 | 27000 | 2.95 | 35
Location 2 | January | 2 | 19269 | 196 | 593 | 19133 | 4 | 24
Location 2 | January | 4 | 20163 | 717 | 1406 | 18736 | 2.04 | 30
Location 2 | January | 9 | 19654 | 546 | 1894 | 18986 | 9 | 9
Location 2 | January | 11 | 18774 | 315 | 588 | 18776 | 3 | 34
Location 2 | January | 15 | 17927 | 338 | 627 | 16361 | 1.38 | 25
Location 2 | January | 17 | 18599 | 322 | 1003 | 18047 | 2.28 | 29
Location 2 | January | 23 | 25249 | 148 | 447 | 23860 | 4.56 | 44
Location 2 | January | 25 | 22595 | 176 | 463 | 20534 | 3.27 | 39
Location 2 | January | 30 | 18788 | 195 | 604 | 18316 | 1.92 | 28
Location 2 | February | 1 | 18986 | 187 | 612 | 16606 | 2.61 | 30
Location 2 | February | 5 | 28083 | 190 | 686 | 27849 | 1.57 | 32
Location 2 | February | 8 | 28483 | 187 | 478 | 27740 | 6.01 | 35
Location 2 | February | 12 | 20290 | 346 | 825 | 19112 | 3.88 | 29
Location 2 | February | 14 | 19674 | 321 | 1081 | 18383 | 3.12 | 30
Location 2 | February | 18 | 22011 | 291.33 | 529 | 20911 | 4.38 | 37
Location 2 | February | 21 | 25222 | 144 | 640 | 23151 | 4 | 36
Location 2 | February | 26 | 19051 | 371 | 1944 | 17801 | 2.04 | 40
Location 2 | February | 28 | 18187 | 297 | 1343 | 17777 | 3.56 | 18
Location 2 | March | 5 | 38162 | 490.8 | 1459 | 38934 | 5.14 | 38
Location 2 | March | 7 | 25729 | 32.3 | 151 | 25696 | 2.97 | 34
Location 2 | March | 12 | 22995 | 73.5 | 420 | 23192 | 1.77 | 19
Location 2 | March | 14 | 24182 | 96.1 | 419 | 24449 | 2.67 | 24
Location 2 | March | 19 | 25022 | 162 | 676 | 24798 | 1.125 | 17
Location 2 | March | 21 | 22360 | 242 | 824 | 21885 | 1.87 | 23
Location 2 | March | 26 | 19970 | 133 | 721 | 18679 | 4.4 | 31
Location 2 | March | 29 | 22485 | 298 | 1109 | 21092 | 3.14 | 53
Location 2 | April | 3 | 22292 | 176 | 485 | 21546 | 2.7 | 24
Location 2 | April | 4 | 31804 | 113 | 274 | 30975 | 1.6 | 33
Location 2 | April | 9 | 22571 | 487 | 1076 | 21878 | 2.2 | 19
Location 2 | April | 11 | 20453 | 104 | 994 | 20546 | 2.1 | 56
Location 2 | April | 16 | 29136 | 269 | 1493 | 28377 | 4.2 | 33
Location 2 | April | 18 | 22668 | 156 | 728 | 20513 | 2.9 | 37
Location 2 | April | 23 | 21326 | 139 | 979 | 19782 | 1.7 | 30
Location 2 | April | 25 | 25134 | 173 | 552 | 23803 | 9.3 | 34
Location 2 | April | 30 | 22298 | 234 | 1330 | 21687 | 3.6 | 24
Location 2 | May | 2 | 21474 | 88 | 673 | 20611 | 3 | 37
Location 2 | May | 7 | 19565 | 160 | 768 | 20821 | 1.5 | 38
Location 2 | May | 9 | 29551 | 118 | 725 | 28115 | 2.71 | 35
Location 2 | May | 14 | 17787 | 73.3 | 244 | 16385 | 3.45 | 31
Location 2 | May | 16 | 19554 | 165.8 | 246 | 18674 | 5.12 | 41
Location 2 | May | 21 | 18993 | 390 | 1782 | 18152 | 3.22 | 26
Location 2 | May | 23 | 17422 | 349 | 639 | 16545 | 3.49 | 33
Location 2 | May | 28 | 17311 | 263 | 558 | 16565 | 5.17 | 42
Location 2 | May | 30 | 19213 | 248 | 845 | 19757 | 3.76 | 42
Location 2 | June | 4 | 27929 | 331 | 1069 | 27493 | 3.01 | 46
Location 2 | June | 6 | 29100 | 159 | 600 | 28420 | 3.8 | 36
Location 2 | June | 10 | 20471 | 362 | 1348 | 18194 | 1.06 | 29
Location 2 | June | 13 | 25224 | 330 | 1114 | 24530 | 2.38 | 28
Location 2 | June | 19 | 21219 | 231 | 1091 | 21415 | 2.02 | 19
Location 2 | June | 20 | 21789 | 287 | 787 | 20480 | 3.61 | 24
Location 2 | June | 25 | 24633 | 151 | 520 | 22660 | 2.95 | 23
Location 2 | June | 28 | 17915 | 103 | 287 | 17655 | 1.89 | 20
Location 2 | July | 1 | 19577 | 187.3 | 895 | 17881 | 4.15 | 38
Location 2 | July | 4 | 19747 | 440 | 926 | 19056 | 2.35 | 38
Location 2 | July | 9 | 18643 | 360 | 1808 | 18484 | 1.62 | 31
Location 2 | July | 12 | 17973 | 90.3 | 274 | 17435 | 7.24 | 74
Location 2 | July | 16 | 17534 | 131 | 584 | 16576 | 1.21 | 13
Location 2 | July | 18 | 18311 | 466.6 | 2113 | 18119 | 3.12 | 34
Location 2 | July | 24 | 19363 | 176.8 | 543 | 18750 | 4.23 | 21
Location 2 | July | 25 | 17714 | 154 | 477 | 16555 | 1.83 | 25
Location 2 | July | 29 | 17072 | 119 | 427 | 16428 | 2.58 | 29
Location 2 | August | 1 | 18129 | 158 | 756 | 17998 | 1.92 | 40
Location 2 | August | 6 | 28325 | 118 | 387 | 27559 | 3.12 | 58
Location 2 | August | 9 | 40328 | 68 | 216 | 40088 | 2.08 | 52
Location 2 | August | 13 | 22826 | 77.25 | 252 | 22998 | 7.5 | 37
Location 2 | August | 15 | 21604 | 74.5 | 300 | 21733 | 2.47 | 38
Location 2 | August | 19 | 29557 | 186 | 423 | 28436 | 7.36 | 53
Location 2 | August | 22 | 26402 | 103 | 281 | 26705 | 1.89 | 37
Location 2 | August | 27 | 20752 | 540 | 1204 | 20152 | 2.41 | 32
Location 2 | August | 29 | 23474 | 531 | 1098 | 21797 | 3.61 | 33
Location 2 | September | 3 | 23646 | 204 | 342 | 22965 | 6.1 | 59
Location 2 | September | 5 | 18500 | 239 | 572 | 18089 | 6.63 | 58
Location 2 | September | 8 | 17183 | 285 | 1328 | 16687 | 2 | 10
Location 2 | September | 9 | 21483 | 174 | 411 | 21499 | 4 | 36
Location 2 | September | 18 | 18446 | 222 | 733 | 18998 | 4 | 34
Location 2 | September | 19 | 20035 | 337 | 1463 | 20111 | 3 | 31
Location 2 | September | 24 | 27046 | 59 | 695 | 26017 | 4.3 | 42
Location 2 | September | 26 | 25310 | 119 | 384 | 25081 | 5.38 | 40