## Background Info
The Workbook contains average daily measurements on the main inlet (influent) and outlet (effluent) wastewater characteristics in two locations in the same county. Randomly samples were taken from January to September of the year
Variables | Descriptions
WWTP Location | Site of the WWTP
Month | Month sample was taken
Day | Day sample was taken
Flow | Flow rate in m3/day
SS | Suspended Solids (mg/l)
TN | Nitrogen and/or Ammonia (mg/l)
P | Phosphorus and/or Orthophosphorus (mg/l)

## Cleaned Up Data
|  |  | Inlet data |  |  |  | Outlet data
WWTP Location | Month | Day | Flow (m3/day) | SS (mg/l) | TN (mg/l) | P (mg/l) | Flow (m3/day) | SS (mg/l) | TN (mg/l) | P (mg/l)
Location 1 | January | 2 | 25231 | 81 | 17.3 | 5.5 | 22746 | 13.5 | 1.5 | 0.97
Location 1 | January | 9 | 23951 | 237 | 34 | 6.8 | 21417 | 7.5 | 5 | 0.96
Location 1 | January | 15 | 21478 | 159 | 35.7 | 10 | 19065 | 4.5 | 4.8 | 0.24
Location 1 | January | 23 | 22937 | 215 | 59.7 | 22 | 20098 | 8.5 | 4.9 | 0.15
Location 1 | January | 30 | 23514 | 168 | 38.7 | 9 | 20958 | 1.5 | 9.1 | 0.75
Location 1 | February | 5 | 22759 | 141 | 24.5 | 5 | 19406 | 15.5 | 6.2 | 0.78
Location 1 | February | 12 | 27743 | 116 | 18.2 | 7 | 24534 | 7.5 | 1.9 | 0.81
Location 1 | February | 18 | 23133 | 342 | 42 | 6 | 19962 | 4 | 1 | 0.8
Location 1 | February | 26 | 23008 | 192 | 43.5 | 9 | 20142 | 6 | 6 | 0.86
Location 1 | March | 5 | 36203 | 120 | 24.9 | 2.1 | 32718 | 9 | 5.4 | 0.55
Location 1 | March | 14 | 41272 | 135 | 18.3 | 3 | 36994 | 8 | 5 | 0.76
Location 1 | March | 21 | 35112 | 137 | 16.6 | 3 | 31649 | 0 | 6.9 | 0.5
Location 1 | March | 26 | 28722 | 169 | 12.41 | 3.21 | 26158 | 4.5 | 6.1 | 0.47
Location 1 | April | 4 | 27027 | 230 | 55.5 | 10.5 | 23070 | 16.5 | 7.5 | 1.15
Location 1 | April | 9 | 24704 | 305 | 29.8 | 7.5 | 22183 | 23.5 | 6.8 | 2.28
Location 1 | April | 18 | 24089 | 164 | 25.8 | 7.5 | 21205 | 29.5 | 8.5 | 0.79
Location 1 | April | 25 | 32096 | 404 | 39 | 10.5 | 28451 | 125 | 7.9 | 1.77
Location 1 | April | 30 | 29232 | 471 | 23.7 | 8.9 | 25774 | 11 | 5.8 | 0.94
Location 1 | May | 2 | 28331 | 140 | 22.9 | 6.29 | 25028 | 5 | 3.8 | 0.31
Location 1 | May | 7 | 22493 | 216 | 23.7 | 7.64 | 19867 | 7.5 | 4.4 | 0.69
Location 1 | May | 9 | 23215 | 197 | 19.4 | 6.98 | 20433 | 4 | 6.98 | 0.49
Location 1 | May | 14 | 19567 | 156 | 2.3 | 9.36 | 17577 | 9.5 | 6.6 | 0.11
Location 1 | May | 23 | 19824 | 344 | 69 | 13.5 | 17340 | 1 | 23.4 | 0.59
Location 1 | May | 28 | 19535 | 375 | 66 | 8.5 | 16790 | 2 | 5.1 | 0.3
Location 1 | June | 6 | 48218 | 87 | 17 | 11 | 43379 | 2 | 5.1 | 0.81
Location 1 | June | 10 | 33056 | 159 | 15 | 6 | 29075 | 15.5 | 3.6 | 0.79
Location 1 | June | 20 | 27674 | 143 | 15 | 7 | 24663 | 2 | 1.9 | 0.46
Location 1 | June | 25 | 28541 | 175 | 28.1 | 7 | 24834 | 9 | 3.9 | 0.27
Location 1 | July | 4 | 22377 | 11256 | 42.9 | 8 | 18833 | 9 | 2.9 | 0.42
Location 1 | July | 9 | 21968 | 258 | 32.4 | 11.5 | 19337 | 6.5 | 4.1 | 0.42
Location 1 | July | 18 | 27125 | 372 | 50.4 | 11 | 23427 | 2.5 | 9.7 | 0.55
Location 1 | July | 24 | 26923 | 79 | 27 | 7.5 | 22798 | 7 | 10.6 | 3.45
Location 1 | August | 1 | 21642 | 195 | 45.2 | 13.5 | 19059 | 2 | 17.1 | 0.43
Location 1 | August | 6 | 37234 | 196 | 18 | 10.2 | 30260 | 8.5 | 4 | 0.35
Location 1 | August | 15 | 33200 | 161 | 5.5 | 12.2 | 29118 | 2 | 5.5 | 0.32
Location 1 | August | 19 | 25437 | 174 | 33.8 | 11.2 | 22768 | 5 | 3.7 | 0.31
Location 1 | August | 29 | 22596 | 172 | 48.2 | 12.2 | 19941 | 1.5 | 7.7 | 0.45
Location 1 | September | 3 | 24402 | 159 | 20.9 | 8.1 | 21967 | 6 | 5.6 | 0.44
Location 1 | September | 8 | 22014 | 180 | 25.31 | 3.75 | 18047 | 5 | 4.73 | 0.47
Location 1 | September | 19 | 19530 | 167 | 23.23 | 3.45 | 16992 | 10 | 4.27 | 0.29
Location 1 | September | 26 | 30070 | 137 | 30.6 | 10 | 27000 | 2.5 | 4.4 | 0.67
Location 2 | January | 2 | 19269 | 409 | 28.5 | 22.5 | 19133 | 3 | 6.9 | 0.18
Location 2 | January | 9 | 19654 | 1439 | 110 | 27.9 | 18986 | 5 | 10.1 | 0.2
Location 2 | January | 15 | 17927 | 450 | 65.1 | 21.2 | 16361 | 3 | 8 | 0.15
Location 2 | January | 23 | 25249 | 407 | 69 | 13 | 23860 | 4 | 10 | 0.88
Location 2 | January | 30 | 18788 | 259 | 39.6 | 9 | 18316 | 2 | 12.1 | 0.35
Location 2 | February | 5 | 28083 | 480 | 39.5 | 11.5 | 27849 | 13.5 | 10.4 | 0.35
Location 2 | February | 12 | 20290 | 924 | 24.9 | 6.5 | 19112 | 2.5 | 2.9 | 0.41
Location 2 | February | 18 | 22011 | 74 | 11.7 | 16.5 | 20911 | 5.5 | 6.6 | 0.59
Location 2 | February | 26 | 19051 | 1738 | 90 | 31.5 | 17801 | 2.5 | 14.4 | 0.59
Location 2 | March | 14 | 24182 | 262 | 17.4 | 4 | 24449 | 2 | 8.7 | 0.56
Location 2 | March | 21 | 22360 | 647 | 32.9 | 6.5 | 21885 | 0.5 | 9.4 | 0.22
Location 2 | March | 26 | 19970 | 712 | 19.4 | 7.8 | 18679 | 0.5 | 5.21 | 0.36
Location 2 | April | 4 | 31804 | 254 | 44.1 | 9 | 30975 | 7 | 1 | 1.2
Location 2 | April | 9 | 22571 | 960 | 62.3 | 8.5 | 21878 | 23.5 | 12.2 | 0.27
Location 2 | April | 11 | 20453 | 567 | 65.7 | 9.7 | 20546 | 1 | 13.5 | 0.81
Location 2 | April | 18 | 22668 | 600 | 63.9 | 10.1 | 20513 | 8.5 | 14 | 0.2
Location 2 | April | 25 | 25134 | 341 | 39.9 | 9 | 23803 | 23 | 8.4 | 0.8
Location 2 | April | 30 | 22298 | 425 | 49.1 | 6.74 | 21687 | 6 | 20 | 0.6
Location 2 | May | 2 | 21474 | 403 | 18.9 | 9.6 | 20611 | 22 | 5.6 | 0.14
Location 2 | May | 7 | 19565 | 354 | 43.2 | 8.68 | 20821 | 13 | 13.6 | 0.79
Location 2 | May | 9 | 29551 | 218 | 39.4 | 11.41 | 28115 | 18 | 5.64 | 0.09
Location 2 | May | 14 | 17787 | 521 | 36.6 | 17.4 | 16385 | 3.5 | 9.41 | 0.21
Location 2 | May | 23 | 17422 | 755 | 92 | 22 | 16545 | 3.5 | 34 | 0.46
Location 2 | May | 28 | 17311 | 768 | 51 | 4 | 16565 | 0.5 | 13.6 | 0.24
Location 2 | June | 6 | 29100 | 328 | 32 | 22 | 28420 | 3.5 | 10.8 | 0.58
Location 2 | June | 10 | 20471 | 703 | 99.2 | 20.5 | 18194 | 1 | 13.4 | 0.2
Location 2 | June | 20 | 21789 | 643 | 59.7 | 10.5 | 20480 | 10.5 | 9.2 | 0.37
Location 2 | June | 25 | 24633 | 422 | 32.5 | 8.5 | 22660 | 3 | 7.5 | 0.43
Location 2 | July | 4 | 19747 | 1509 | 107 | 41 | 19056 | 2 | 14.7 | 0.25
Location 2 | July | 9 | 18643 | 1496 | 87.9 | 29 | 18484 | 10 | 14.1 | 0.2
Location 2 | July | 18 | 18311 | 2015 | 61.4 | 32.5 | 18119 | 12.5 | 21.9 | 0.34
Location 2 | July | 24 | 19363 | 527 | 39.8 | 14.5 | 18750 | 1 | 12.2 | 0.19
Location 2 | August | 1 | 18129 | 425 | 59.2 | 12.5 | 17998 | 6.5 | 17.1 | 0.22
Location 2 | August | 6 | 28325 | 401 | 35.2 | 12.9 | 27559 | 19.5 | 14.6 | 0.3
Location 2 | August | 15 | 21604 | 212 | 39.6 | 11.9 | 21733 | 2 | 12 | 0.35
Location 2 | August | 19 | 29557 | 253 | 15.9 | 31.5 | 28436 | 15 | 14.2 | 0.31
Location 2 | August | 29 | 23474 | 1959 | 33 | 13.9 | 21797 | 8.5 | 14.2 | 0.28
Location 2 | September | 3 | 23646 | 499 | 66.1 | 14.2 | 22965 | 14.5 | 14.1 | 0.34
Location 2 | September | 8 | 17183 | 1120 | 52.2 | 27.6 | 16687 | 2 | 7.22 | 0.12
Location 2 | September | 19 | 20035 | 860 | 71.64 | 10.7 | 20111 | 22 | 18.58 | 0.14
Location 2 | September | 26 | 25310 | 295 | 52.3 | 11.5 | 25081 | 3.5 | 17.6 | 0.33