## Background Info
The workbook contains daily average measurements of Ultraviolet Transmission (UVT) and Turbidity across 4 months (April, May, June and September) at the treatment plant with the purpose of evaluating all season conditions to WTP operators. Both turbidity and UVT can be used as indicators to determine whether a water source will form possibly harmful by-products or biological risks i.e. Trihalomethane (THM) formation from chlorine addition or pose a Cryptosporidium risk when UV disinfection is installed. Additionally, it contains the day’s rainfall data as downloaded from the Met Eireann website.
Variable | Description
Day | Date measurement was taken
Month | Month measurement was taken
DailyAveUVT | UVT Daily Average
DailyAveTurb | Turbidity Daily Average
Rainfall | Amount, in mm, of rainfall on the day
RainINT | Rainfall intensity

## Cleaned Up Data
Day | Month | DailyAveUVT | DailyAveTurb | Rainfall (mm) | RainINT
01-Apr | April | 90.783 | 0.049643 | 2.2 | Light
02-Apr | April | 90.5732 | 0.051319 | 8 | Heavy
03-Apr | April | 89.2154 | 0.056568 | 8.3 | Heavy
04-Apr | April | 89.3801 | 0.053124 | 2.4 | Light
05-Apr | April | 89.4976 | 0.052967 | 3.6 | Moderate
06-Apr | April | 89.4783 | 0.052835 | 0.1 | Light
07-Apr | April | 89.4883 | 0.053734 | 0 | No Rain
08-Apr | April | 89.3831 | 0.055253 | 0.1 | Light
09-Apr | April | 89.1617 | 0.056493 | 0.2 | Light
10-Apr | April | 89.0186 | 0.058676 | 0 | No Rain
11-Apr | April | 88.8873 | 0.058044 | 0 | No Rain
12-Apr | April | 88.7561 | 0.059019 | 0 | No Rain
13-Apr | April | 88.5771 | 0.06086 | 7.6 | Moderate
14-Apr | April | 85.3593 | 0.087142 | 14.1 | Heavy
15-Apr | April | 85.886 | 0.079328 | 4.9 | Moderate
16-Apr | April | 86.7604 | 0.06647 | 0 | No Rain
17-Apr | April | 86.9598 | 0.065965 | 0 | No Rain
18-Apr | April | 91.595 | 0.056936 | 0 | No Rain
19-Apr | April | 96.2083 | 0.032149 | 0 | No Rain
20-Apr | April | 96.2073 | 0.028778 | 0.2 | Light
21-Apr | April | 96.159 | 0.027543 | 0.2 | Light
22-Apr | April | 96.0764 | 0.028211 | 0 | No Rain
23-Apr | April | 96.0852 | 0.028835 | 0 | No Rain
24-Apr | April | 96.0078 | 0.030044 | 15 | Heavy
25-Apr | April | 94.6848 | 0.0366 | 1.3 | Light
26-Apr | April | 95.1769 | 0.033176 | 15.6 | Heavy
27-Apr | April | 91.4712 | 0.053078 | 2.5 | Moderate
28-Apr | April | 94.0834 | 0.03707 | 1 | Light
29-Apr | April | 94.6447 | 0.035696 | 1.3 | Light
30-Apr | April | 93.8017 | 0.039852 | 7.9 | Moderate
01-May | May | 93.8373 | 0.039885 | 1.7 | Light
02-May | May | 94.1115 | 0.039738 | 0.4 | Light
03-May | May | 94.1586 | 0.041428 | 0 | No Rain
04-May | May | 94.133 | 0.043444 | 0 | No Rain
05-May | May | 94.0704 | 0.044324 | 0 | No Rain
06-May | May | 93.9113 | 0.04502 | 0 | No Rain
07-May | May | 93.7511 | 0.046017 | 0 | No Rain
08-May | May | 93.5947 | 0.04887 | 0 | No Rain
09-May | May | 93.3907 | 0.050256 | 2 | Light
10-May | May | 92.9592 | 0.055011 | 3.6 | Moderate
11-May | May | 92.83 | 0.057815 | 0 | No Rain
12-May | May | 92.74 | 0.059584 | 0 | No Rain
13-May | May | 92.2452 | 0.096957 | 0 | No Rain
14-May | May | 91.3808 | 0.083087 | 0 | No Rain
15-May | May | 91.2372 | 0.075194 | 0 | No Rain
16-May | May | 91.0145 | 0.077221 | 6.2 | Moderate
17-May | May | 90.7324 | 0.081703 | 1.2 | Light
18-May | May | 90.5331 | 0.08486 | 0.8 | Light
19-May | May | 90.3733 | 0.088019 | 2.6 | Moderate
20-May | May | 90.1278 | 0.09109 | 1 | Light
21-May | May | 89.9429 | 0.096139 | 0 | No Rain
22-May | May | 89.7072 | 0.098869 | 0 | No Rain
23-May | May | 89.4907 | 0.1028 | 1 | Light
24-May | May | 89.2259 | 0.10666 | 0.5 | Light
25-May | May | 89.006 | 0.11167 | 5.2 | Moderate
26-May | May | 88.1194 | 0.1193 | 5 | Moderate
27-May | May | 88.1656 | 0.12477 | 7.1 | Moderate
28-May | May | 87.9515 | 0.13144 | 0.6 | Light
29-May | May | 87.783 | 0.13412 | 13.9 | Heavy
30-May | May | 86.7914 | 0.13984 | 14.6 | Heavy
31-May | May | 89.2603 | 0.15554 | 10.7 | Heavy
01-Jun | June | 94.3534 | 0.029927 | 4 | Moderate
02-Jun | June | 95.1853 | 0.026665 | 6.6 | Moderate
03-Jun | June | 95.3367 | 0.025576 | 2.9 | Moderate
04-Jun | June | 95.1311 | 0.026972 | 17.5 | Heavy
05-Jun | June | 92.8511 | 0.033669 | 14.1 | Heavy
06-Jun | June | 88.9721 | 0.055681 | 16.8 | Heavy
07-Jun | June | 92.8491 | 0.035026 | 0.3 | Light
08-Jun | June | 94.8933 | 0.02523 | 6.1 | Moderate
09-Jun | June | 94.7515 | 0.028761 | 4.3 | Moderate
10-Jun | June | 94.9408 | 0.029622 | 0 | No Rain
11-Jun | June | 95.1749 | 0.029082 | 0 | No Rain
12-Jun | June | 95.0876 | 0.030178 | 0 | No Rain
13-Jun | June | 95.0449 | 0.031741 | 3.3 | Moderate
14-Jun | June | 94.9763 | 0.031585 | 2.9 | Moderate
15-Jun | June | 94.885 | 0.031356 | 0.6 | Light
16-Jun | June | 94.851 | 0.032178 | 4.1 | Moderate
17-Jun | June | 94.2149 | 0.035166 | 5.7 | Moderate
18-Jun | June | 94.1484 | 0.034737 | 0 | No Rain
19-Jun | June | 94.0839 | 0.035909 | 0.8 | Light
20-Jun | June | 93.9811 | 0.037587 | 1 | Light
21-Jun | June | 93.765 | 0.039727 | 0 | No Rain
22-Jun | June | 93.6232 | 0.04068 | 0 | No Rain
23-Jun | June | 93.5527 | 0.04305 | 8.5 | Heavy
24-Jun | June | 92.9955 | 0.045165 | 12.7 | Heavy
25-Jun | June | 92.8406 | 0.046678 | 0 | No Rain
26-Jun | June | 92.6706 | 0.04854 | 0 | No Rain
27-Jun | June | 92.5447 | 0.049022 | 0 | No Rain
28-Jun | June | 92.4276 | 0.050896 | 0 | No Rain
29-Jun | June | 92.7805 | 0.04775 | 0 | No Rain
01-Sep | September | 87.775 | 0.10156 | 1.2 | Light
02-Sep | September | 92.02 | 0.041013 | 2.6 | Moderate
03-Sep | September | 92.1483 | 0.03696 | 5.2 | Moderate
04-Sep | September | 90.0419 | 0.04891 | 3.8 | Moderate
05-Sep | September | 90.2992 | 0.043422 | 0.4 | Light
06-Sep | September | 90.2665 | 0.041319 | 1.2 | Light
07-Sep | September | 89.5728 | 0.044569 | 1.5 | Light
08-Sep | September | 88.6985 | 0.049637 | 10.1 | Heavy
09-Sep | September | 85.8786 | 0.067991 | 5.7 | Moderate
10-Sep | September | 85.2817 | 0.064083 | 15 | Heavy
11-Sep | September | 82.4599 | 0.15009 | 3.8 | Moderate
12-Sep | September | 92.9816 | 0.049946 | 3.1 | Moderate
13-Sep | September | 95.1276 | 0.032117 | 0.1 | Light
14-Sep | September | 95.5619 | 0.030453 | 2.3 | Light
15-Sep | September | 95.1253 | 0.032633 | 10.2 | Heavy
16-Sep | September | 93.3601 | 0.035953 | 0.1 | Light
17-Sep | September | 93.7137 | 0.03425 | 0 | No Rain
18-Sep | September | 93.6148 | 0.034908 | 0 | No Rain
19-Sep | September | 95.1077 | 0.033131 | 0 | No Rain
20-Sep | September | 96.5233 | 0.029764 | 0.1 | Light
21-Sep | September | 96.1881 | 0.031154 | 6.1 | Moderate
22-Sep | September | 95.3652 | 0.035593 | 0.3 | Light
23-Sep | September | 94.9424 | 0.033672 | 6.8 | Moderate
24-Sep | September | 94.0134 | 0.034094 | 3.7 | Moderate
25-Sep | September | 92.3099 | 0.03893 | 4.5 | Moderate
26-Sep | September | 91.6978 | 0.040366 | 7.6 | Moderate
27-Sep | September | 90.2227 | 0.065191 | 8.7 | Heavy
28-Sep | September | 93.5934 | 0.042997 | 3.1 | Moderate
29-Sep | September | 94.5678 | 0.035956 | 0.6 | Light
30-Sep | September | 95.7352 | 0.031889 | 8.9 | Heavy